	 
	BACKFLOW PREVENTION ASSEMBLY
TEST AND MAINTENANCE REPORT


	


CUSTOMER:    
                                                                                                                                
                 APO #:

SERVICE ADDRESS:                       






                 ACCOUNT #:
LOCATION OF ASSEMBLY:        
                            

TYPE OF ASSEMBLY:
RP 


DC  


PVB
  Line Pressure: __________________________
	MANUFACTURE:_________________________
	MODEL:________________________
	SERIAL NO.____________________SIZE:___________


	RELIEF VALVE
	CHECK VALVE #1
	CHECK VALVE #2
	PRESSURE VACUUM

BREAKER

	OPENED AT:


PSID

BUFFER                            PSID

DID NOT OPEN

        
	
     LEAKED


     CLOSED TIGHT

DIFF. PRESSURE

ACROSS CHECK

VALVE:               


   PSID


	
     LEAKED


     CLOSED TIGHT

DIFF. PRESSURE

ACROSS CHECK

VALVE:                         


PSID


	AIR INLETOPENED AT:  


  PSID

DID NOT OPEN    

CHECK VALVE:

LEAKED 
HELD AT                     

   PSID



	
     CLEANED ONLY

REPLACED:

RUBBER KIT    

RV ASSEMBLY
	
    CLEANED ONLY

REPLACED:

RUBBER KIT    

CV ASSEMBLY
	
     CLEANED ONLY

REPLACED:

RUBBER KIT   

CV ASSEMBLY
	
     CLEANED ONLY

REPLACED:

RUBBER KIT     

CV ASSEMBLY 

	OPENED AT:                      

PSID

BUFFER                           PSID
	    CLOSED TIGHT


 PSID


	    CLOSED TIGHT


PSID


	AIR INLET                     

  PSID

CHECK VALVE                       


  PSID



	 SHUT OFF VALVE #1    

     LEAKED                      CLOSED TIGHT
	 SHUT OFF VALVE #2


     LEAKED                        CLOSED TIGHT



REMARKS:  _____________________________________________________________________________________PASS:                FAIL: 
I HEREBY CERTIFY THAT AT THE DATE AND TIME OF THE TEST INDICATED, THIS DATA IS ACCURATE AND REFLECTS THE PROPER OPERATION AND MAINTENANCE OF THE ASSEMBLY PER CURRENT INDUSTRY STANDARDS. I ALSO CERTIFY THAT THE #1 AND #2 SHUTOFF VALVES HAVE BEEN LEFT IN THE FULLY OPENED POSITION.
	INITIAL TEST BY: 
	CERTIFIED TESTER NO. 
	DATE:     



	REPAIRED BY:
	CERTIFIED TESTER NO.                                             DATE:



	FINAL TEST BY:
	CERTIFIED TESTER NO.
	DATE:



	TEST KIT    MANUF:__________________________  MODEL:________________________  CALIBRATION DATE_____________________________       


	DATE & TIME: ________________________________
	
	SIGNATURE OF TESTER: ___________________________________________













































































































































































Cape Fear Public Utility Authority, Community Compliance, 235 Government Center Drive, Wilmington, NC  28403

T:  910-332-6558 F: 910-332-6730 Submit online at www.cfpua.org/communitycompliance
Form# - ESCCA – 0009.446C

Associated Procedure:  ESCCA – 0009.446

Effective Date:  11/18/2020

Revision Date:  3/17/14
Revision#1

Page 1

